Washington State University Vancouver

Stormwater Management Program Plan

WSU Permit # WAR04-5716

The Washington State University Vancouver (WSUV) Stormwater Management Program Plan (SWMPP) has six elements derived from the Western Washington Phase II Municipal Stormwater Permit.  WSUV shall meet all regulatory requirements for Secondary Permittees in this Phase II Municipal Stormwater Permit.

The WSUV SWMPP strives to reduce discharges of pollutants to stormwater to the maximum extent practicable and protect water quality through permit-specified Best Management Practices (BMPs). The SWMPP is organized according to the BMPs delineated in Permit Section S6.D and is reviewed and updated annually.

Please note that paraphrased sections from the Phase II Municipal Stormwater Permit are in regular font, and the WSU Vancouver sections are in italics.

Program and Permit Requirements

- Public Education and Outreach (S6.D.1)

Goal

To promote awareness and support for stormwater management activities among tenants and students, and to show how they can prevent stormwater pollution.

Permit Elements

WSUV shall implement the following stormwater education strategies:

Storm drain inlets (catch basins) owned and operated by WSUV that are located in maintenance yards, in parking lots, along sidewalks, and at pedestrian access points shall be clearly labeled with a message similar to “Dump no waste - Drains to waterbody.”

- Description of program activities:  WSUV storm drains in maintenance areas, parking lots, along sidewalks, and at pedestrian access points are labeled as follows:  “Dump no Waste; Drains to Stream” and include a salmon image.

As identified during visual inspection and regular maintenance of catch basins, or as otherwise reported to WSUV, any catch basin having a label that is no longer clearly visible and/or easily readable shall be re-labeled within 90 days.

Description of program activities:  Facilities Services reinstalls the labels as needed.

Each year WSUV shall distribute educational information to tenants and students on the impact of stormwater discharges on receiving waters, and steps that can be taken to reduce pollutants in stormwater runoff.  Distribution of this information will be by electronic means.  Appropriate topics may include:

- How stormwater runoff affects local waterbodies;

- Proper use and application of pesticides and fertilizers;

- Benefits of using well-adapted vegetation;

- Alternative equipment washing practices including cars and trucks that minimize pollutants in stormwater;

- Benefits of proper vehicle maintenance and alternative transportation choices; proper handling and disposal of wastes, including the location of hazardous waste collection facilities in the area;

- Hazards associated with illicit connections; and

- Benefits of litter control and proper disposal of pet waste.

Description of program activities:

- Educational information was not distributed last year and a G20 letter was submitted to Ecology.

- Distribution of Educational Information to tenants and students will occur on an annual basis by means of some of the following methods:

- The campus web news publication: The FYI, posts educational opportunity announcements and information concerning stormwater management and pollution prevention.

- The student newspaper: The VanCougar, posts student stories, educational inserts, educational opportunities, and announcements concerning stormwater. The student reporters occasionally do feature articles on facilities staff activities and caring for the campus.

- Informational emails and mailing to campus stakeholders.

- The WSUV Safety Committee.

- Curriculum offers environmental health class that includes water quality and stormwater pollution prevention.

- Educational signage for campus pet waste stations in the case of pet owners that walk their dogs on campus.

- Cougar Pride Days in which the WSUV works with stakeholders and the public to enhance the campus grounds.

- WSU Vancouver stormwater information on website.

- Distribution of education literature and pamphlets.

- Bulletin board postings.

2.  Public Involvement and Participation (S6.D.2)

Goal

To promote and facilitate faculty, staff, student and public participation and involvement in the WSUV SWMP Plan and planning process including: 1) creating opportunities for the public to participate in the decision making processes involving the development; 2) implementation and update of WSUV’s SWMP Plan; 3) development and adoption of all required ordinances, and; 4) receipt and consideration of information on construction site stormwater runoff control.

Permit Elements

Each year no later than May 31 WSUV shall:

- Make the annual report available on the website.

- Make the latest updated version of the SWMPP available on the website.

Description of program activities:  The annual report and updated SWMPP were not posted on the web site last year and a G20 letter was submitted to Ecology.  The annual report and SWMPP are posted on the WSUV website each year.

3.  Illicit Discharge Detection and Elimination (S6.D.3)

Goal

To identify and eliminate illicit discharges to WSUV’s storm sewer system, thereby improving local surface water quality.

Permit Elements

WSUV shall comply with all relevant ordinances, rules, and regulations of Clark County that govern non-stormwater discharges (illicit discharges for example).

Description of program activities:  WSUV is in compliance with all relevant ordinances. The Public Safety department enforces the Clark County Ordinance C8.11.060 requiring animal excrement to be removed from campus grounds by pet owner, and Ordinance C8.15.020 leash-law for dogs. Public Safety has the authority to issue citations as they are commissioned police officers.

WSUV shall implement appropriate policies prohibiting illicit discharges, and an enforcement plan to ensure compliance with the illicit discharge policies.  These policies shall address, at a minimum: illicit connections; non-stormwater discharges, including spills of hazardous materials, pet waste, and litter.

Description of program activities:  WSU developed and published the enforcement policy in the Safety Policies and Procedures Manual (SPPM) 6.58 Stormwater Management.  This policy was revised in September 2021.  Pet waste bags and collection stations are dispersed around the campus grounds with five stations installed to date.

WSUV shall maintain a storm sewer system map showing the locations of all known storm drain outfalls, labeling the receiving waters, other than groundwater, and delineating the areas contributing runoff to each outfall and discharge point.  Make the map available on request to Ecology, and to the extent appropriate, to other Permittees.

Description of program activities:  WSU has developed a GIS map of the system, and Facilities Services continues to verify, and make updates to the maps as needed. Note that WSUV does not have any stormwater outfalls to local receiving waters (Salmon Creek and Mill Creek).

WSUV shall conduct field inspections and visually inspect for illicit discharges at all known outfalls.  WSUV shall visually inspect at least one third (on average) of all known outfalls each year.  Implement procedures to identify and remove any illicit discharges and keep records of inspections and follow-up activities.

Description of program activities:  WSUV does not have any stormwater outfalls to local receiving waters (Salmon Creek and Mill Creek).

WSUV shall implement a spill response plan that includes coordination with a qualified spill responder.

Description of program activities:  WSUV has developed and implemented a spill response plan that includes coordination with a qualified spill responder.  WSUV also has Spill Prevention, Control and Counter Measure (SPCC) Plan training that is required for applicable employees.  The online training transcript is kept by HRS via Precipio.

WSUV shall provide staff training or coordinate with existing training efforts to educate staff on proper BMPs for preventing illicit discharges, including spills, and train all staff who, as a part of their normal job responsibilities, have a role in preventing such illicit discharges.

Description of program activities:  WSUV conducts staff training on proper best management practices to help prevent illicit discharges as needed.

4.  Construction Site Stormwater Runoff Control (S6.D.4)

Goal

To prevent the discharge of sediment, erosion, and other construction related pollutants from construction sites.

Permit Elements

WSUV shall:

Comply with all relevant ordinances, rules, and regulations of Clark County that govern construction phase stormwater pollution prevention measures.

Description of program activities:  WSUV is in compliance will all relevant ordinances, rules and regulations.

Ensure that all construction projects under the control of WSUV which require a construction stormwater permit obtain coverage under the NPDES Construction Stormwater General Permit.

Description of program activities:

- The Facilities Services Capital (FSC) coordinates, oversees, and monitors construction projects of 1 acre or more that require an NPDES Construction Stormwater General Permit.

- Stormwater Construction Permits are not issued, and the project cannot proceed unless the SWPPP meets required (and regulated) specifications.

- Permits are obtained prior to the beginning of construction project.

- Currently the only project requiring a permit is the Life Sciences Building.

Coordinate with Clark County regarding projects owned and operated by other entities which discharge into the WSUV storm sewer system, to assist the County with achieving compliance with all relevant ordinances, rules, and regulations of the County.

Description of program activities:  There are no other entities that discharge into the WSUV storm sewer system.

Provide training or coordinate with existing training efforts to educate relevant staff in erosion and sediment control BMPs and requirements or hire trained contractors to perform the work.

Description of program activities: FSC hires contractors that have Certified Erosion and Sediment Control Leads (CESCLs) on call 24 hour a day as required by the Permit.  In cooperation with FSC, DOE, and Clark County, the construction project contractor(s) develop a Stormwater Pollution Prevention Plan (SWPPP) and assume responsibility for the Permit for the duration of the project, and transfer of the project back to WSUV once completed.

Coordinate as requested with Ecology or Clark County to provide access for inspection of construction sites or other land disturbances which are under the control of WSUV during the land disturbing activities and/or construction period.

Description of program activities:  Construction sites are inspected by FSC, the County, and the contractor on a regular basis. The contractor develops monthly Discharge Monitoring Reports (DMRs) that are reviewed by FSC and transmitted to DOE.

5.  Post-Construction Stormwater Management for New Development and
     Redevelopment (S6.D.5)

Goal

To control stormwater runoff flow from new development and redevelopment projects.

Permit Elements

WSUV shall comply with all relevant ordinances, rules and regulations of Clark County that govern post-construction stormwater pollution prevention measures.

Description of program activities: WSUV is in compliance with this requirement.  For the Life Sciences Building project a stormwater collection pond will be installed.  Note that all stormwater is managed on-site and there are no discharges of stormwater off-site or into receiving waters.

6.  Pollution Prevention and Good Housekeeping for Municipal Operations

(S6.D.6)

Goal

To reduce pollutant loading in stormwater runoff from roadways, parking areas, maintenance and storage yards, vehicle fleets, parks, impervious surfaces, etc.

Permit Elements

WSUV shall implement a municipal operation and maintenance (O&M) plan to minimize stormwater pollution from activities conducted by WSUV.  The O&M Plan shall include appropriate pollution prevention and good housekeeping procedures for all of the following operations, activities, and/or types of facilities that are present within WSUV’s boundaries, and under the functional control of WSUV.

- Stormwater collection and conveyance system, including catch basins, stormwater pipes, open channels, culverts, and stormwater treatment and/or flow control BMPs and facilities.  The O&M Plan shall address, at a minimum:  scheduled inspections and maintenance activities, including cleaning and proper disposal of waste removed from the system.  WSUV shall properly maintain stormwater collection and conveyance systems owned and operated by WSUV, and regularly inspect and maintain all stormwater facilities to ensure facility function.

WSUV shall establish maintenance standards that are as protective as or more protective of facility function than those specified in Stormwater Management Manual for Western Washington.  WSUV shall review their maiteancne standards to ensure they are consistent with the requirements of this Section.

WSUV shall conduct spot checks of potentially damaged permanent stormwater treatment and flow control BMPs/facilities following major storm events (24-hour event with a 10 year or greater recurrence interval).

Description of program activities: Vancouver receives 3.0 inches of precipitation in a 10-year 24-hour storm per the Western WA Stormwater Manual Figure III-B.2: Western Washington Isopluvial 10-year, 24 hour. However, no storms involving 3.0 inches of precipitation in a 24-hour period occurred in Vancouver in 2022.  Therefore spot checks were not performed.  WSUV will continue to monitor forecasts for 10-year 24-hour storm events and conduct spot checks afterwards as necessary.

- Roads, highways, and parking lots.  The O&M Plan shall address, but is not limited to: deicing, anti-icing, and snow removal practices; snow disposal areas; material (e.g., salt, sand, or other chemical) storage areas; all-season BMPs to reduce road and parking lot debris, and other pollutants from entering the MS4.

- Vehicle fleets.  The O&M Plan shall address, but is not limited to: storage, washing, and maintenance of WSUV’s vehicle fleets; and fueling facilities.  WSUV shall conduct all vehicle and equipment washing and maintenance in a self-contained covered building or in designated wash and/or maintenance areas.

- External building maintenance.  The O&M Plan shall address building exterior cleaning and maintenance including cleaning, washing, painting and other maintenance activities.

- Parks and open space.  The O&M Plan shall address but is not limited to: proper application of fertilizer, pesticides, and herbicides; sediment and erosion control; BMPs for landscape maintenance and vegetation disposal; and trash management.

- Material storage facilities and heavy equipment maintenance or storage yards.  WSUV shall develop and implement a Stormwater Pollution Prevention Plan to protect water quality at each of these facilities owned or operated by WSUV.

- Other facilities that would reasonably be expected to discharge contaminated runoff.  The O&M Plan shall address proper stormwater pollution prevention practices for each facility.

Description of program activities:  WSUV developed and implemented Stormwater O&M Plans, and develops new plans as deemed appropriate. WSUV has updated the O&M Plans and remains in substantial compliance with the above requirements. WSUV performs maintenance on the stormwater detention ponds, cleans catch basins, replaces deteriorated catch basin labels as needed, and regularly inspects stormwater BMPs to ensure facility function.

WSUV shall have permit coverage for all facilities operated by WSUV that are required to be covered under the General NPDES Permit for Stormwater Discharges Associated with Industrial Activities.

Description of program activities:  WSUV currently does not have any facilities that are required to be covered under this Permit.  In the future WSUV will obtain permits for facilities that meet this Permit requirement.

The O&M Plan shall include sufficient documentation and records as necessary to demonstrate compliance with the O&M Plan requirements in this section above.

Description of program activities:  WSUV is in compliance.

WSUV shall implement a program designed to train all employees whose construction, operations, or maintenance job functions may impact stormwater quality.  The training shall address:

- The importance of protecting water quality.

- The requirements of this Permit.

- Operation and maintenance requirements.

- Inspection procedures.

- Ways to perform their job activities to prevent or minimize impacts to water quality.

- Procedures for reporting water quality concerns, including potential illicit discharges, including spills.

Description of program activities:  EHS provides on-going training to applicable employees as needed and assists departments with their O&M Plan requirements.