Washington State University Vancouver Hazardous Waste Management Plan (HWMP)

1.0	INTRODUCTION	1

2.0	program basics	1

3.0	HAZARDOUS WASTE STORAGE PROCEDURES	2

3.1.	Satellite Hazardous Waste Accumulation Area (SAA)	2

3.2	Central Hazardous Waste Storage Area (CHWSA)	3

4.0.	Labeling of Hazardous Waste	4

4.1	Dangerous Waste Labeling	4

5.0	Chemical Substance Report Form (CSRF)	4

6.0	Hazardous Waste Coordinator’s Responsibilities	5

7.0	Central Hazardous Waste STORAGE area inspections	7

8.0	Hazardous Waste Disposal Shipment Procedure	7

9.0	Hazardous Waste Recordkeeping	8

10.0	TRAINING	9

11.0	FACILTIES OPERATIONS/MAINTENANCE WASTES	9

12.0	HAZARDOUS Waste Designation	11

13.0	POLLUTION PREVENTION	11

14.0	COMPUTER WASTE	11

15.0	PESTICIDEs	11

16.0	cENTRAL hAZaRDOUS WASTE STORAGE ROOM SECURITY	12

17.0	EMERGENCY PROCEDURES	12

17.1	Summon Help	12

17.2	Fire	12

17.3	Chemical Spills	13

18.0	FORMS	14

18.1	Waste Shipment Checklist	20

18.2	Recycle and Shipment Log	21

18.3	Dangerous Waste Storage Compliance Date Sign	22

18.4    Chemical Substance Report Form	24

18.5     Hazardous Waste Storage Inspection Form	25

# 1.0	INTRODUCTION

The following plan provides information on requirements for the management of hazardous wastes. The proper management of hazardous waste is necessary to, to reduce disposal costs, to ensure good stewardship of the environment and WSU facilities, to ensure safety of employees, students, volunteers and visitors, and to help protect from liabilities and unwanted regulatory citations and fines. This plan applies to maintenance activities, laboratories, offices, grounds and field activities performed by employees, students, volunteers or visitors.

# 2.0	program basics

Waste minimization: It is preferable not to create a waste in the first place. Steps can be taken to reduce or eliminate a waste by planning procedures with less toxic chemicals, using micro-techniques, or recycling unwanted chemicals among other campus chemical users, etc. Contact the EH&S Coordinator for assistance.

Storage: Hazardous waste may be stored in only two designated areas on campus. One area is called the “Central Hazardous Waste Storage” area, and the second is called a “Satellite Accumulation” area. Strict storage quantities, procedures, labeling, record keeping, and storage time limits apply to both of these areas, and are regulated by the State of Washington’s Department of Ecology.

Labeling: Specific hazardous waste labeling is required for waste containers, storage areas and transport vehicles (see section 4.0).

Hazardous Waste Coordinator (HWC): WSU Vancouver appoints and trains a Hazardous Waste Coordinator to properly manage the handling, storage and disposal of hazardous wastes. The HWC appointed for WSU Vancouver is the EH&S Coordinator.

Record keeping: Strict record keeping requirements for manifests, inspections, storage quantities and limits are required (see section 9.0).

Inspections: Periodic inspections of waste storage areas are required (see section 7.0).

Disposal: Do not dilute or evaporate chemical wastes or place down sink drains as a disposal method. Hazardous wastes generated at WSU Vancouver must be disposed of through the State’s licensed hazardous waste contractor.

Shipment: As hazardous wastes are highly regulated, arrange for hazardous waste pick-up and transport through the EH&S Coordinator. The EH&S Coordinator must be present to oversee waste pick-ups, to sign the contractor shipping papers (manifests), and ensure proper handling, packing, and labeling of the waste (see section 8.0).

Training: Training is required for hazardous waste generators and those involved with handling, storing and shipping of hazardous wastes (see section 10.0).

# 3.0	HAZARDOUS WASTE STORAGE PROCEDURES

## 3.1.	Satellite Hazardous Waste Accumulation Area (SAA)

These procedures are for the storage of hazardous wastes in the area where they are generated. Each laboratory/program/department may store hazardous waste under specific conditions in one designated area under their control, called and labeled the area’s “Hazardous Waste Satellite Accumulation Area.”

- Store hazardous wastes in a designated area at the location of generation identified with the sign: “Hazardous Waste Satellite Accumulation Storage Area”. The area must be secured when not occupied.

- When a container is selected to store a hazardous waste, it must be compatible with the waste material, be in good condition, clean inside and outside, and must have a tight fitting cap. Do not use ground glass, cork or rubber stopper containers, Parafilm, or snap cap lids. Keep waste containers closed at all times except when adding or removing waste.

- Label the waste container before storing waste in the container.

- Do not mix wastes in the same container unless directed otherwise by the EH&S Coordinator.

- Do not store incompatible wastes containers together. Separate them from each other using tub or by distance, and store solids above liquids where possible. If the flammable liquids inventory for the lab/area exceeds 10 gallons, store wastes in a flammable storage cabinet.

## 3.2	Central Hazardous Waste Storage Area (CHWSA)

- Hazardous wastes awaiting vendor disposal are to be stored in the central hazardous waste storage area. The area must remain locked when not in use. Wastes need to be stored by hazard classification(s), and properly segregated.

- Waste storage times for the Central Hazardous Waste Storage Area (CHWSA) may vary depending on the quantity of waste generated and stored. Waste storage periods allowed by the State for a given year will fall into a category of 90 day, 180 day, or longer under some circumstances. Ask the EH&S Coordinator for clarification of storage periods at WSU Vancouver.

- The hazardous waste storage building is labeled with the words “Environmental Waste Management Authorized Personnel Only.” The NFPA diamond label on the outside of the building reflects the hazard(s) of the wastes stored in the building. Emergency contacts and phone numbers are posted inside the building. The University emergency phone tree is activated if a problem should arise in the area.

- Hazardous waste containers must be properly labeled (see 4.0).

- Before wastes are placed in the hazardous waste storage area the wastes must be noted on the WSU Chemical Substance Report Form (CSRF) and have a “dangerous waste” label attached (see section 5.0).

- Hazardous waste must be moved from the SAA to the CHWSA when a container of a particular waste is filled. Do not start another container of this waste until the first container is taken to the CHWSA. In other words, you may have multiple containers of different wastes in the SAA, but not multiple containers of the same waste.

- A Chemical Substance Report form (CSRF) must be completed and EH&S notified so waste can be transferred to the CHWSA within 3 days of:

- A waste container being filled (do not over-fill container, allow 3-4 inches of head space in container).

- Determining that a waste will no longer be generated.

- A container no longer receiving waste material.

- Determining a usable chemical will no longer be used.

- Determining a chemical is unusable.

- An unknown chemical is discovered. Unknowns must not be stored in the SAA. Immediately report unknowns to the EH&S Coordinator.

- Transfer waste to the CHWSA before SAA waste quantity limits are exceeded:

- >2.2lb of an Acutely Hazardous Waste is accumulated

- >55-gallon container of hazardous waste is accumulated.

# 4.0.	Labeling of Hazardous Waste

## 4.1	Dangerous Waste Labeling

Hazardous waste labels for containers may be obtained from the EH&S Coordinator. The Washington State Department of Ecology (DOE) refers to hazardous waste as “Dangerous” waste thus the labels follow the DOE’s regulations using the word “Dangerous Waste” (example below).

| Inv#_____________ DANGEROUS WASTE |
| --- |
| Generator Dept Date Filled |
| Circle hazard(s): |  |  |  |
| Flammable Toxic Corrosive Other _____________ | % |
| Constituents |  |  |  |

The following information must be on the label:

- The proper chemical name and percentage. Do not use chemical formulas, abbreviations or trade names. Include the percentage of water if present.

- Hazard(s) of waste. Circle the waste’s appropriate hazard on the label.

- Name of the person who generates the waste.

- The words, “Caution, Dangerous Waste”.

- The date the container became filled.

- A unique waste identifying number assigned by the generator (ex. BR102)

Place the date waste was first placed in the waste container and your initials on the bottle, not the waste label. When the waste bottle becomes full, place the fill date on the waste label. This allows Hazard Communication and DOE labeling requirements to be met and will keep confusion from developing between waste bottle fill dates and waste bottle start dates. The distinction between the two dates is of the up most importance to the DOE.

The DOE designates certain wastes as “Universal Wastes.” Spent batteries (not including lead-acid batteries which are considered hazardous waste), fluorescent, high pressure sodium and metal halide lamps, and mercury containing equipment all fall into the category of Universal Wastes. These wastes can be accumulated up to one year before disposal, and if handled as universal waste do not count towards a facilities generator status. These wastes must be labeled “Universal Waste,” name of contents, hazards, and an accumulation start date as shown below.

UNIVERSAL WASTE

Inv #

Accumulation Start Date

Waste Name

Generator Dept.

Circle hazard(s):

Flammable Toxic Corrosive Other ____________

# 5.0	Chemical Substance Report Form (CSRF)

Waste generators must fill out a CSRF when a waste is ready for pick-up from the SAA and placement into the CHWSA. The CSRF can be found in Appendix A. When the form is complete, retain a departmental copy, and send a copy of the CSRF to EH&S. Containers not listed on a CSRF or properly labeled will not be accepted. The CSRF also serves as the CHWSA waste inventory, so its accuracy is important.

Filling out the CSRF:

List each separate waste on the form that is ready for collection. Multiple containers of the same waste can be consolidated on one line of the form, if the containers are the same size and type (i.e., all 1-liter glass bottles). Use the descriptions below to properly fill out the CSRF.

- The generator information includes: the actual person who generated the waste, their department, and the facility location.

- Inventory Number: Assign a unique inventory number to each waste reported in this column. This number is also placed on every container label associated with this line entry. The container will not be shipped for disposal or treatment unless this number is on the container.

- Container Fill Date: Record the date the container was filled, sealed or no longer intended for any further use in the date format (mm/dd/yy).

- Constituents, their Percent and Hazards: List each constituent of the waste and its approximate percentage. Also include inert ingredients and water content. If a trade name is used such as Sinbar, also include the actual chemical name. If the constituent is unknown, provide a best guess estimate. Include the associated hazards of the waste in this space.

- # of Containers: Record the number of containers of the same waste type and size in this line entry.

- Container Size: Record the container size in liters only (1 quart = 1 liter; 4 liters = 1 gallon).

- Total Amount: Record the total amount of the waste. If there were five 1- liter containers all half full the total would be 2.5 liters. Report all liquids in “liters” and all solids in “kilograms”.

- Container Type:  Record the type of material the container is made of by placing either (G) for glass, (M) for metal, (P) for plastic or (F) for fiber/paper in this column.

- Physical State: Describe the physical state of the waste as either (S) solid, (L) liquid, (G) gas, (SL) sludge, or (A) aerosol.

- pH: If appropriate, indicate the pH of the material.

- Storage Date: Record the date the waste was placed into the CHWSA. THE EH&S Coordinator fills this date in when the waste is placed into the CHWSA.

# 6.0	Hazardous Waste Coordinator’s Responsibilities

The HWC will:

- Upon receipt of a “Chemical Substance Report Form” (CSRF) from a waste generator, review the entries for completeness, and specific chemical hazards. Ensure transport of the waste materials to the CHWSA within three days of the generator’s notification.

- When collecting/handling waste, at the minimum, use the following personal protective equipment (PPE): Safety eye wear, disposable nitrile gloves and a lab coat. Depending on specific conditions other PPE may be required.

- Before transport of containers to the CHWSA, assess each container for: integrity, compatibility with the waste, proper labeling, tightly secured lids, contamination on the outside of the container, and reasonable head space (3-4”) for the container.

- For transport, place the waste containers in secondary containment trays or other transfer device and segregate incompatibles from each other. If transporting liquids, have some absorbent on the cart as well in case a spill occurs. Record the collection date in the “Storage Date” column on the CSRF, and leave a copy of the CSRF for the generator.

- When using the elevator, do not allow passengers. Ask them to wait until you have exited from the elevator.

- Carry Facilities Operations radio during waste transport and storage placement in case of an emergency, if there isn’t a phone or fire pull in the central storage area.

- At the CHWSA place each container in a cabinet and/or shelf labeled for its hazard classification. Place solids on the upper shelves and liquids below where possible.

- Maintain a CHWSA Hazardous Waste Inventory by placing completed CSRFs for waste placed in the storage area in file folder on the wall. The CSRFs in the file folder will comprise the storage area’s waste inventory.

- Send a copy of the CSRF and disposal paperwork to the EH&S Statewide Coordinator.

- Perform weekly inspection of the CHWSA and maintain the inspection records.

- Hazardous waste storage has regulatory limits on storage time so it is important to track waste storage times by using the “Storage Limit Compliance” sign (see example in appendix A). Locate the sign in a conspicuous location in the storage cabinet/ area. The storage limit clock starts after a disposal event when the first waste is placed in the central storage room. Find the earliest container fill date among the first arrivals, and record that date on the form.

# 7.0	Central Hazardous Waste STORAGE area inspections

- The EH&S Coordinator must maintain a weekly inspection schedule for the CHWSA when hazardous wastes are present using the “Storage Inspection” form found in Appendix A. When an item is satisfactory, mark that item with a check or “x” under the date of inspection. If a discrepancy is found mark a “D” for that item and explain the discrepancy in the section at the bottom and reverse side of the inspection form. Date and sign the inspection form.

- When a discrepancy is noted during an inspection, the EH&S Coordinator contacts whomever is responsible for correcting the situation and notifies them of the need. When corrected, note the date, the corrective action and initial next to the original discrepancy note. If during an inspection, there is an outstanding discrepancy noted, follow-up on the status and note, if appropriate, on the inspection form.

- After a waste pick-up has been completed, note the shipment date on the Inspection form. Note any waste not shipped in the discrepancy section.

- Retain inspection sheets for 3 years.

# 8.0	Hazardous Waste Disposal Shipment Procedure

Approximately three weeks prior to a waste shipment date the EH&S Coordinator contacts departments and the hazardous waste contractor, and schedules a waste pick. Then:

- The EH&S Coordinator also notifies hazardous waste generators of the upcoming hazardous waste shipment date, and requests submittal of CSRFs for any wastes needing disposal not already in central storage. Request forms must be submitted to the EH&S Coordinator two weeks prior to shipment date.

- Approximately one week before the pickup, the EH&S Coordinator will submit any remaining CSRFs to the contractor. As a courtesy to the contractor, any waste material collected during the week prior to the disposal event should be kept separated and the CSRFs provided to the contractor upon arrival.

- When the waste contractor arrives, the EH&S Coordinator will provide access to the CHWSA, and familiarize contractor with the location of the nearest phone, emergency shower and eye wash unit, and fire extinguisher.

- The EH&S Coordinator needs to ensure that the contractor:

- Reviews the waste ready for disposal with the EH&S Coordinator.

- Only packages containers that have a waste ID number on them. If no ID number is present, brings this to the attention of the EH&S Coordinator who will obtain an ID number for the contractor.

- Writes the waste ID number on the contractor’s drum inventory sheets.

- When bulking, list or note the waste ID number of the wastes being bulked on the CSRF as to which drum number they were bulked into or a separate list for the bulk drum only.

- Writes the State of Washington and EPA hazardous waste codes for the wastes packaged on the drum inventory sheets.

- Write the estimated weight of each container on the drum inventory sheet.

- EH&S Coordinator will inspect the waste storage cabinets and area to make sure all wastes have been packaged and no spills took place. Then using the “Shipment Checklist,” inspect drums, labeling of containers and truck, review manifesting paperwork for accuracy, and sign the paperwork. Ensure each checklist task or item is completed before the contractor leaves and the paperwork is distributed.

- Note: The EH&S Coordinator is the only person authorized to sign the manifest, other shipping papers and the time and materials sheet.

- The waste shipment’s original copies of manifesting paperwork, Shipment Checklist, contractor’s Time and Materials sheet, and CSRFs should be placed in a file dated for the shipment and placed in the central hazardous waste file. Send a copy of shipment paperwork to the EH&S Statewide Coordinator.

- After the shipment is completed, remove the CSRFs associated with the containers shipped from the waste inventory book. File the CSRFs with the manifest documents.

- Within 45 days, an original copy of the manifest, signed by the receiving facility, must be received and placed into the shipment file. If it has not been received within 45 days, the EH&S Coordinator must contact the contractor to get a copy ASAP.

# 9.0	Hazardous Waste Recordkeeping

The hazardous waste files are located in the Physical Plant Building room 20. The central files should contain the following:

- The Form 2 “Notification of Dangerous Waste Activity.”

- Manifest paperwork for each waste shipment, including the signed returned manifest and certificate of disposal (CD).

- Annual Dangerous Waste reports.

- Exception reports.

- Analytical data/testing for any waste.

- Chemical Substance Report forms for wastes shipped for disposal.

- CHWSA inspection records

Hazardous waste manifest and shipment records must, by law, be retained on site for 5 years minimum. EH&S highly recommends keeping these files on site indefinitely. The EH&S Coordinator needs to audit the central files annually for completeness.

Recycled materials such as, waste oil, Universal Waste shipment records, and pesticide redistribution records also need to be kept on file with facility waste records.

# 10.0	TRAINING

Performing different tasks/responsibilities related to hazardous waste management requires varying forms of training.

Waste Generator: Trained in the proper waste handling duties relevant to their duties. These would include: waste designation, container selection and labeling, satellite accumulation storage procedure, personal protective equipment, Hazard Communications, emergency procedures, waste reporting, and record keeping.

Emergency Coordinator (EC): Trained in the proper waste handling duties relevant to their duties. These would include: Hazard procedures, storage area procedures, and emergency procedures in the event of a fire, explosion, spill or other release. Communications, container management

Hazardous Waste Coordinator (HWC): Trained in the proper waste handling duties relevant to their duties. These would include: waste collection procedures, chemical hazards and incompatibilities, container labeling, Hazard Communications, storage area procedures, storage area inspections, personal protective equipment, pertinent U.S. DOT Hazardous Materials Transportation regulations, emergency procedures, and record keeping.

EH&S Coordinator: Trained in the proper waste handling duties relevant to their duties. These would include: waste designation, container selection and labeling, satellite accumulation storage procedures, waste reporting and record keeping, central storage area procedures, Hazard Communications, personal protective equipment, container management procedures, emergency procedures in the event of a fire, explosion, spill or other release, WSU hazardous waste procedures, and pertinent U.S. Department of Transportation regulations.

# 11.0	FACILTIES OPERATIONS/MAINTENANCE WASTES

Maintenance activities such as vehicle and equipment repair, painting, pesticide applications, construction projects may create wastes, several which may be considered hazardous waste by the State of Washington. Hazardous wastes created by maintenance activities need to be handled as stated in this procedure. Never dispose of shop fluids in storm drain, septic tank, dry well, dumpster or sewer.

Specific handling procedures apply to spent materials for them to qualify as recyclable materials. Recyclable materials must be stored separately from hazardous wastes. Label the area: “Used Shop Materials for Recycle;” do not use the word “waste” in the labeling of recyclable materials. As with hazardous waste, recycle shop fluid areas need to be inside the shop and in control of the generator. Keep waste streams separated when recycling, fluids that become contaminated with chlorinated products, solvents, and metal working fluids must be treated as hazardous waste. Only trained and authorized staff should place fluids into recycle/waste containers. Recycling records need to be kept with hazardous waste files (file all bills of lading).

Facilities Operations/Maintenance Wastes [cont.]

The following materials need to be collected for recycle, special handling, or hazardous waste disposal. When feasible, recycling, in lieu of disposal, is a more cost effective and environmental friendly option for handling spent materials. Refer to the DOE “Guide for Automotive Shops” which is posted on the DOE website, for more information.

| SPENT MATERIAL | ACTION | LABEL | WASTE DESIGNATION |
| --- | --- | --- | --- |
| Lead-acid batteries | Recycle with vendor or Battery X-change twice yearly or is hazardous waste | “Spent Battery for Recycle Caution Corrosive” | Recycle or hazardous waste if can’t recycle |
| Batteries other than lead acid | Recycled through hazardous waste vendor | Use Universal Waste label | Universal waste |
| Oil filters | Hot drain filters for 24 hours & recycle | “Used Oil Filters for Recycle” | Recycle or local landfill (approval needed) |
| Transmission filters | Drain filters for 24 hours & recycle | “Used Transmission Filters for Recycle” | Recycle or local landfill (approval needed) |
| Fuel filters | Manage as hazardous waste | Use hazardous waste label | Hazardous waste |
| Vehicle oil | Recycle with approved local vendor if no synthetic or chlorinated products, or solvents | “Used Oil for Recycle Caution Combustible” | Recycle or hazardous waste-designation depends on generator procedures |
| Transmission oil, gear oil, hydraulic fluid, differential fluid | Recycle with used oil if no synthetic or chlorinated products or solvents | See used oil | See used oil |
| Brake & Power Steering Fluid | Dispose of through hazardous waste vendor | Use hazardous waste label | Hazardous waste |
| Antifreeze | Recycle through approved local vendor | “Spent Antifreeze for Recycle Caution Toxic” | Recycle or hazardous waste-designation depends on generator procedures |
| Parts cleaner | Research alternative cleaners to solvent-no waste OR dispose of through hazardous waste vendor or recycle through supplier | Depends on product | Non-hazardous waste, reduced hazardous waste or hazardous waste depending on product selected & generator procedures |
| Carb cleaner | Dispose of via hazardous waste vendor | Use hazardous waste label | Hazardous Waste |
| Spray Cabinet Washers | Testing of discharge required. Local sewer authority needs to approve discharge. May need to be closed system. | NA | Non-hazardous or hazardous waste designation depends on generator procedures. Testing required. |
| Evaporators and hot tanks | Not recommended -contact EH&S for options | NA | Hazardous waste |
| Shop Towels/Wipers | Dependent on generator treatment of towels-read DOE literature concerning shop towels in appendix B | Dispose of in UL flammable can in shop/Label: “Contaminated Shop Towels Combustible” | Launder, landfill or hazardous waste-designation depends on generator procedures |
| Solvents/Paint Thinners | Dispose of through hazardous waste vendor | Use hazardous waste label | Hazardous waste |
| Aerosol cans (empty or containing paint) | Dispose of through hazardous waste vendor | Use hazardous waste label | Hazardous waste |
| Bead blast residue from parts stripper | Hazardous waste designation needed (lab test) esp. if cleaning painted parts | “Used Bead Blast Caution Silica Dust” or use hazardous waste label | Non-hazardous or hazardous waste- designation depends on generator procedures |
| Metals | Local vendor | Store under cover/Label area “Metals for Recycle” | Recycle |
| Spent tires | Landfill or find local recycler | Store under cover | Recycle or Landfill |
| Oil Water Separator sludge | Pump sludge via local approved vendor or ship via hazardous waste vendor | NA | Non-hazardous or hazardous waste designation depends on generator procedures |
| Shop floor wash water | Seek permission from local sewer authority to put down drain | NA | Non-hazardous or hazardous waste designation depends on generator procedures |
| Floor Sweep (spill clean-up) | Dependent on product & spill | Dependent on spill | Hazardous waste |
| Freon and Asbestos Brake Pads | Take older vehicles to authorized shop for service, if your shop doesn’t have proper capture equipment | NA | Hazardous waste |
| Fluorescent lights & other mercury containing equipment | Recycle through hazardous waste vendor or local recycler or check with local landfill | Use Universal waste label | Universal waste |
| PCB containing equipment including transformers | Dispose of through hazardous waste vendor or vendor designated by EH&S | “Caution PCB Containing Equipment Toxic” | Hazardous waste (TSCA rules apply) |
| Paint | Recycle or dispose of via hazardous waste vendor | “Paint for Recycle” or use hazardous waste label | Recycle or hazardous waste |
| Pesticides | Dispose of through vendor who sold product, WSDA event, or hazardous waste vendor | Use hazardous waste label | Hazardous waste |

# 12.0	HAZARDOUS Waste Designation

The Department of Ecology regulates hazardous wastes for the State of Washington. “Hazardous” wastes are termed “dangerous” wastes by the State. When a chemical waste is generated, it must be determined if it is a dangerous waste in order to dispose of it in a proper manner. This procedure helps to determine when a chemical waste is classified as a dangerous waste in the state of Washington. Waste designation is important, as many chemicals may seem non-hazardous, especially those at low concentrations, but in fact, may in the state of Washington, is a dangerous waste. Be aware that waste disposal recommendations found in Material Safety Data Sheets, books and researcher’s publications that describe waste disposal procedures may not apply in the state of Washington.

There are two ways to designate your waste. One is to designate it yourself using the WSU EH&S guide at: http://www.ehs.wsu.edu/hazwaste/wasteidframe.htm  the other way, is to have EH&S designate the waste. Either way, it is necessary to maintain the documentation of the waste designation on file. It is very helpful to have the following information for the designator:

- All chemical and non-chemical constituents and their estimated or known concentrations, including water. If a trade name such as Wonderclean or Solgest is being disposed, the actual chemical names of the ingredients are needed.

- The volumes of waste and the container size and type they will be stored in.

- Waste generation rate and if it is constant, periodic, batch or continuous.

- If it is corrosive, the pH is helpful.

- Material Safety Data Sheet for the chemical(s).

# 13.0	POLLUTION PREVENTION

It is recommended to work with the EH&S Coordinator before generating the waste as disposal options and costs can be explored; possible substitution of chemicals or procedures to reduce or eliminate waste generation can be considered; generator treatment to eliminate the dangerous waste may be a possibility; and ways to containerize the waste to reduce disposal costs can be determined. Also, it is recommended:

- Not to accept chemical donations

- Not to order chemical products in bulk to keep chemical inventories and wastes to a minimum.

- Do return pesticides, including experimental pesticides, to the vendor when projects are finished.

The EH&S Coordinator will write up the alternative method/action each time a waste saving measure is implemented and put in waste file under pollution prevention heading, and include in pollution prevention plan reporting.

# 14.0	COMPUTER WASTE

Lead and precious metal content of computers prohibit discarding computers/monitors in the landfill. This equipment needs to be surplused via WSU Pullman so it is properly disposed of through a licensed waste/recycle vendor.

# 15.0	PESTICIDEs

Unused pesticides, research, experimental or otherwise, provided to WSU by manufacturers, distributors, or field representatives need to be returned to the supplier when projects are finished. This practice saves the university dollars and storage room, and prevents unnecessary waste generation. Have a verbal or written agreement with the supplier, before receiving the material that commits the supplier to take back the unused material at the end of the spray season. Work out return logistics before accepting the pesticide. If a company representative wants to leave a sample, ensure the rep will take back any excess sample before accepting the sample.

Of course, the best way to control pesticide inventory is to only receive the pesticide amount needed for the season. Calculate closely how much material is needed for the season and request suppliers repackage pesticide to provide only that amount. Arrange for suppliers to send additional small amounts of product, if the initial estimates prove inadequate.

Mailing Pesticides: Mail back pesticides in the same shipping containers they were sent in (requires the containers be saved). If pesticide is mailed, have the company confirm and/or provide the necessary shipping labels, hazard labels, bill of lading, and packaging. DO NOT mail improperly packaged or labeled pesticides as there are large monetary fines possible when hazardous materials are not packaged per DOT shipping regulations.

# 16.0	hAZaRDOUS WASTE SECURITY

## 16.1	Hazardous Waste Central Storage Room Security

The EH&S Coordinator is responsible for monitoring the hazardous waste central storage area located in the Physical Plant Building, room 20. The CHWSA is located between the EH&S Office and the campus Public Safety Office and this location helps deter unauthorized persons.

The CHWSA is kept locked at all times. Keys are issued only to authorized personnel. WSU employees and students are issued University ID cards.

Only authorized personnel are allowed entry to the CHWSA. Custodians clean the room upon request of the EH&S Coordinator which is traditionally after vendor pick-ups and not while chemical wastes are present. Trash is emptied by the EH&S Coordinator.

## 16.2	Hazardous Waste Shipment Security

The University contracts with the State of Washington’s Hazardous Waste Vendor for hazardous waste disposal. This vendor is selected by the State after a rigorous investigation and selection process. By law the vendor is required to develop a security plan to help ensure safe shipment of its various clients’ waste.

To help ensure safe shipments of University waste the EH&S Coordinator inspects container and lid integrity, oversees packing of waste prior to shipment, confirms identity of contractor personnel, monitors loading of waste into contractor vehicles and DOT signage on the vehicle. The EH&S Coordinator obtains written certification of disposal certificates on all hazardous waste shipments. The majority of wastes are incinerated.

Shipping and receiving personnel are trained in DOT HAZMAT recognition and hazards.

# 17.0	EMERGENCY PROCEDURES

## 17.1	Summon Help

Calling 9-911 from campus not only alerts 911 emergency services, it also alerts the campus police. The campus police in turn can report to the scene, access the situation, and activate the campus emergency phone tree, and get the proper personnel to the scene of an emergency. The police also direct emergency vehicles and crowd control.

## 17.2	Fire

The CHWSA building is equipped with an automatic sprinkler system. Fire extinguishers are located near the two CHWSA exits, as are fire pulls. The building is monitored by building controls systems 24 hours a day. The lighting installed for the building is intrinsically safe. The EH&S Office has a phone for easy access to dial 9-911.

## 17.3	Chemical Exposures

There is an emergency eyewash and shower located inside the CHWSA. A regular shower is also located in the CHWSA, as well, as outside the EH&S Office. Flush eyes and/or body for a minimum of 15 minutes. The nationwide poison control number is 800-222-1222 and is posted in several places in the CHWSA. The EH&S Office computer can access MSDS’s online from the manufacturer or consult departmental MSDS records for more chemical emergency information while help is on the way.

## 17.4	Chemical Spills

- In the event of a spill

Notify coworkers and evacuate the immediate area.

Keep personnel from re-entering the affected area.

Seek assistance if any of the following conditions exist.

- Personal qualified to clean up the release are not available in the work area (WAC 296-62, Part R), or

- Protective equipment or supplies necessary for cleanup (e.g. respirators, absorbents) are not available, or

- Released chemical material cannot be identified, or

- Volume of the released chemical material exceeds one liter of undiluted material, or four liters of diluted material, or

- Released chemical material is potentially explosive or highly flammable, or

- Released chemical material is highly toxic, or

- Released chemical material is outside the employee’s immediate work area.

Seek assistance by calling:

- Call 911 to report large hazardous spill.

- Call Facilities Operations -546-9000 to report small non-hazardous spill.

(After hours Facilities group pager number -360-690-0465)

- Chemical spill- WSU Environmental Health & Safety

    - Craig Root (Wenatchee) 509-663-8181 ext 230

Cell # 509-670-2233

    - Fred Miller (Richland) 509-372-7163

Cell # 509-336-9389

- EH&S Pullman  509- 332-2521

*radioactive material spill – contact Facilities Operations at *546-9000,

Radiation Safety Personal- Steve Sylvester at *546-9724

(Directly during normal work hours)

Pullman  *509-8916    Radiation Safety Office

*mercury material spill– contact Facilities Operations directly at *546-9000

(During normal work hours, 7:00am to 5:00pm).

*** Do not attempt to clean up mercury spills, as this will spread the contamination.***

# 18.0	Campus department hazardous waste spill related FORMS

|  |  |  |  | SPILL CONTINGENCY PLAN |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | THIS PLAN IS TO BE ACTIVATED IN THE EVENT OF A SPILL OF A HAZARDOUS CHEMICAL |  |
|  |  | (For additional information refer to facility Emergency Plan) |  |  |  |
|  |  | Facility: _______________ | Dept: ________________ | Area: ___________________ |
| Report spill to: |  |  |  |  |  |  |  |  |  |
| Fire department in the event of:________________________________________________________________ |
|  | Phone: ____________________________ | Police:__________________ | Hospital: __________________ |
| Facility emergency coordinators: All spills |  |  |  |  |  |  |
|  | Name:_________________ | Phone: _________ | Name: ___________________ | Phone: ___________ |
| Environmental Health & Safety: All spills |  |  |  |  |  |  |  |
|  | Name:__________________ | Phone: _________ | After hours: Pullman dispatch (509) 332-2521 |
| Supervisor: All spills | Name: ___________________ |  | Phone: ____________________________ |
| Regulatory agency: EHS will assist in determining reporting requirements and will report spill |  |  |
| In the event of an accident or illness call 911 for medical assistance |  |  |  |  |
| Spill response/cleanup: |  | Chemical spilled: ______________________________________________ |
| The spill is to be cleaned up by personnel in this work area if the following criteria are met: |  |  |
|  | The spill is located within the work area covered by this plan |  |  |  |  |
|  | Personnel are trained to handle the specific chemical spilled in their normal work duties |  |
|  | The spill is considered a small spill (refer to guidelines) |  |  |  |  |
|  | Personnel are trained in small spill cleanup activities, and the work area emergency plan |  |
|  | Proper personal protective equipment and cleanup supplies must be available and used |  |
|  | Other: __________________________________________________________________________________ |
| Authorized personnel for cleanup: |  |  |  |  |  |  |  |
|  | Name: _________________________ | Position: ________________________________ |  |
|  | Name: _________________________ | Position: ________________________________ |  |
| If the spill is not to be cleaned up by area personnel, contact WSU - EHS (phone numbers above) |  |
| Location of emergency equipment: |  |  |  |  |  |  |  |
| Fire extinguishers: ___________________________________ | Fire blanket: _____________________________ |
| Fire alarm pulls: _________________________________ | First aid kit: _______________________________ |
| Emergency eye wash: ___________________________ | Emergency shower: _________________________ |
| Location of personal protective equipment: ___________________________________________________________ |
| Location of spill response supplies: __________________________________________________________________ |
| Spill response supplies to be used: |  |  |  |  |  |  |  |
| Disposal of spill cleanup waste: Dispose per local, state and federal requirements. Contact EHS for assistance |
| Spill cleanup procedures to be used:___________________________________________________________________ |
| Spill cleanup procedures to be used (continued):_________________________________________________________ |
| Personal protective equipment to be used:______________________________________________________________ |
| Guidelines for determining if a spill is considered a small spill: (Can you clean it up?) |
| The spilled chemical can be identified. (unknowns require outside assistance) |
| The hazards associated with the spilled material and the spill environment must be identified (MSDS available) |
| No protective equipment is required other than what is normal for use of the material spilled. |
| If a respirator is required, must have current successful fit test, medical surveillance (respiratory), and annual training. |
| Fire not present or explosion hasn't occurred |
| There is no presence of a highly toxic substance where there is risk of exposure No more than 10 minutes is required to perform the actual cleanup & containerization of the release. |  |  |  |  |  |  |
| The spill is in your work area. |
| You are trained to use the spilled material in your daily work. |  |  |  |  |  |  |
| Your work area must have a specific, written emergency plan in place for handling spills. |  |  |  |  |  |  |  |
| You must be trained in small spill cleanup, and work area emergency plan |  |  |  |  |  |  |
| You must have the proper PPE, spill equipment, and supplies readily available. |  |  |  |  |  |  |  |
| EMERGENCY CONTACT NUMBERS Call 911 for emergency help (9-911 from a campus phone) This call will be routed to appropriate emergency services and WSU Vancouver’s Public Safety who in turn will contact the appropriate WSU Vancouver personnel. ( Facilities Operations Office phone - *546.9000 ( James Martin, Facilities Operations Manager- *690-0465 ( Dave Stephenson, Public Safety- *546-9004 ( Chris Jaynes, Safety Officer- *546-9262 ( Jeanette Bergen, Facilities Operations- *546-9708 |  |  |  |  |  |  |

|  |  |  |  | CHEMICAL SPILL CHECKLIST |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Injuries | Chemical exposure | Fire | Location to meet emergency personnel |  |
| Notify emergency personnel | Fire: __________ | Police: ______________ | Hospital: _______________ |
| Notify WSU personnel | Emergency coordinator:___________________ | EHS:_________________ |
|  |  |  | Name: ____________________________________ | Name: ___________________ |
| Nature of injuries/exposure: _________________________________________________________________________ |
| Chemical exposure: | Flush for minimum of 15 minutes |  |  |  |  |  |
| Hazardous material involved: ____________________________________________ | solid | Liquid | gas |
|  | Amount spilled: ________________ | Area contaminated (ft2): ______________ |  |  |
| Hazards present: | Flammable | Explosive | Oxygen deficient | Reactive (air/water) |
|  |  | Toxic | Corrosive | Electrical | Slip/trip/fall | Heat/cold |
| Evacuation of area: | Room | Floor | Building | General area | Wind direction: ________ |
| Minimize spread: | Surround w/ absorbent | Stop spill/leak | Dike | Cover drains |  |
|  |  | Fume hood on | Shut off building air | Site control (prevent tracking) |
| Information: | MSDS |  | Label |  | Cleanup procedure |  |  |
|  |  |  |  |  |  |  |  | Area contact: __________ |
| Spill location: ___________________ | Date/time of spill: ________________ | Phone: ______________ |
| Who to respond/cleanup: |  |  |  |  |  |  |  |  |
|  | Work area personnel (if answer to all of the following are no) |  |  |  |  |
|  | Outside assistance (EHS, contractor, haz mat team) (If answer to any of the following is yes) |  |
| Fire/explosion/reactive or toxic volatiles hazards present | Injury involved | Unknown chemical involved |
| Respiratory protection required | Personnel NOT trained | Proper PPE NOT available |  |
| Necessary spill supplies NOT available | Spill volume greater than a quart (guideline) |  |  |
| Personal protective equipment (PPE) required: _____________________________________________________ |
| Spill cleanup entry: |  | Ventilation | Setup zones (hot, decontamination, support) |  |
|  |  |  | Don PPE | Spill cleanup supplies |  |  |  |
|  |  | Personnel doing cleanup: ________________________________________________________ |
| Cleanup procedure: |  |  |  |  |  |  |  |  |  |
| Post cleanup: | Area clean | Waste disposal | Spill report |  |  |  |
| Damage: ________________________________________________________________________________________ |
| Description of incident (how and why spill occurred): |  |  |  |  |  |  |
| Who notified of spill: ______________________________________________________________________________ |
| Location of spill cleanup materials | Location 1: ______________________ | Location 2: ________________ |
|  |  |  |  | Location 3: ______________________ | Location 4: ________________ |
| ABSORBENTS | Consult MSDS in Spill Response Section first |  |  |  |  |
| Guidelines: |  |  |  |  |  |  |  |  |  |
| Flammable solvents |  |  |  |  |  |  |  |  |
|  | Spill-X-S ONLY if spilled material is listed in the Spill-X instruction book |  |  |  |
|  | Activated charcoal (2 lbs charcoal/ 0.5 liter of liquid solvent) |  |  |  |  |
|  | Inert absorbent - cat litter, spill pillows |  |  |  |  |  |  |
| Non flammable organics |  |  |  |
| Inert absorbents - cat litter, spill pillows |  |
| Acids |  |  |  |  |  |  |  |
|  | Spill-X-A ONLY if spilled material is listed in the Spill-X instruction book |  |  |  |
|  | Avoid water |  |  |  |  |  |  |  |  |
|  | Inert absorbents - cat litter, spill pillows, vermiculite |  |  |  |  |  |
|  | Oxidizing acids-Do not use paper towels, shredded paper, sawdust, products containing any organic matter |
| Bases/caustics |  |  |  |  |  |  |  |  |  |
|  | Spill-X-C ONLY if spilled material is listed in the Spill-X instruction book |  |  |  |
|  | Avoid water |  |  |  |  |  |  |  |  |
|  | Inert absorbents - cat litter, spill pillows, vermiculite |  |  |  |  |  |
| Oxidizers |  |  |  |  |  |  |  |  |  |
|  | Inert absorbents-Do not use paper towels, shredded paper, sawdust, products containing any organic matter |
|  |  | Cat litter, spill pillows |  |  |  |  |  |  |  |
| Pesticides Inert absorbents - cat litter, spill pillows, vermiculite |  |  |  |  |
| Mercury Use mercury spill kit ingredients. Merc vacuum is available from Wenatchee |  |  |
| ******** | Use of spill-X absorbents may generate heat from reaction and this may be sufficient to cause delamination |
|  | of countertops, loosen tiles or other heat related damage |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Hot zone |
| Spill cleanup zones |  |  | Decontamination zone |  |  |  |  |
|  |  |  |  |  |  |  |  | Spill |  |  |
|  |  | changing area |  |  |  |  |  |  | Spill |
| Support zone |  |  | wash tubs |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | inside |
|  |  |  |  | Used | Equip | Waste |  |  |  | fume hood |
|  |  |  |  | PPE | storage | storage |  | outside |  |  |
|  |  | supplies |  |  |  |  |  | wind |  | room exhaust |
| Vapor pressure: How readily a material will give off vapor. High VP high volatility. |  |  |  |
| Evaporation rate: Rate of evaporation relative to ether (which is very fast) or to butyl acetate (which is very slow) |
|  | If rate is > 1.0, evaporation is greater than the reference, if < 1.0 it is slower. |  |  |  |
| Vapor density: Vapor density relative to air. VD< 1.0 vapors will rise to ceiling, caught between rafters. |  |
|  | VD > 1.0 vapors will sink to low spots such as down stairwells, vaults, floors, bottom of ditches, sumps |
| Specific gravity: Relative weight to water. If SG is > 1.0 the spill will sink in water, < 1.0 it will float on surface. |
| Water solubility: (cleanup with water?) If moderate 1-10% soluble; appreciable >10%, complete all proportions |  |

## 18.1	Waste Shipment Checklist

Washington State University Vancouver

WASTE SHIPMENT CHECKLIST

WSU SITE ___________  SHIPMENT DATE ________  CONTRACTOR ______________

1.	 Following shipping documents completed, and original copy retained:

( Manifests ( Land Ban ( Waste Profiles ( Drum Inventory Sheets

( Contractor Time & Materials Report	( WSU Chemical Substance Report Forms

( Other _____________________________________________________________

2.	Manifest and Document Review

(	Manifests signed/dated  ( WSU (by) ____________________ & ( Transporter

(	Drum Inventory Sheets: ( Inventory # Container Count _____  Drum Count _____

(	Waste Profiles reviewed & signed 	( Land Ban signed      ( CD requested

(	Contractor Time & Materials Sheet Correct & Signed  ( Drum count confirmed

(	24 hour Emergency phone# listed on manifest: (Chemtrec 800-429-9300)

(	Correct generator & attention information

3.	Shipment Check

(	Inspect drums (labeling, drum count)		( Inspect truck (proper placarding)

4.	Shipment Follow-up

(	Original shipping documents to site file

(	Copy of shipping documents to: Craig Root %WSU TFREU 1100 N Western, Wenatchee, WA 98801 (copy of documents listed in #1 above)

( 	Receipt of returned manifests  ( Copy to Craig

(	Receipt of Certificate of Disposal (CD)   ( Copy to Craig

************************************************************************************************************************************************

EH& S STATEWIDE USE ONLY

| MANIFEST # | DATE MANIFEST RETURNED | DATE CD RETURNED |
| --- | --- | --- |

| TRANSPORTER | EPA ID# | LOCATION |
| --- | --- | --- |

| DESIGNATED FACILITY |  |  |
| --- | --- | --- |

( Invoice approved / Date invoice sent for payment ________

Number of Containers ____  ( Annual report entered

( Data Entry Worksheet completed	Date ______________by:____________________

( Data Entry completed Date:_________by ___________________________________

( Revised CSRF to Generator Date _________________________________________

## 18.2	Recycle and Shipment Log

| WASHINGTON STATE UNIVERSITY RECYCLE AND SHIPMENT LOG |
| --- |
| For WSU Location: |
| Shop Building/Department: |
| Date Shipped | Product Shipped | Company/Vendor | WSU Responsible Person | Retained Bill of Lading | Comments/Other Info |
| Include: used oil, antifreeze, computers, monitors, fluorescent lights, tires, metal, lead-acid batteries, etc. Do not discard this record! File with hazardous waste manifest records. |

## 18.3	Waste Storage Compliance Sign

WSU Hazardous Waste Central Storage

DANGEROUS WASTE STORAGE COMPLIANCE DATES

FIRST CONTAINER STORAGE DATE: _________________

NEXT DISPOSAL DATE ON OR BEFORE: ___________________________

| 18.4 Chemical Substance Report Form WSU CHEMICAL SUBSTANCE REPORT | Generator_____________________________________ |
| --- | --- |
|  | Facility____________ | Department______________ |
| Inv # | Container Fill Date | Constituents & Percent (must = 100% / include water) List Hazard(s) of Waste (flammable, corrosive, toxic, reactive, etc.) | # of Cont | Cont Size (Liters) | Total Amount (Kg or L) | Cont Type (G;M;P;F) | Physical State (S;L;G;SL) | pH | Storage Date |
| COMMENTS |  |  |  |  |  |  |  |  |
| Distribution 4 copies: 1) YELLOW: Site Coordinator 2) PINK: Container Location 3) GOLDENROD: Generator File |  |  |  |  |  |  |
| 4) WHITE: Your EH&S Statewide Representative at one of the following addresses: |  |  |  |  |  |  |  |
|  | a) WSU TFREC %Environmental Health & Safety Dept. 1100 N Western Ave Wenatchee, WA 98801 fax 509-662-8714 phone 509-663-8181 x230 |  |  |  |  |
|  | b) WSU Vancouver %Environmental Health & Safety Dept 14204 NE Salmon Creek Ave Vancouver, WA 98686-9600 fax 360-546-9062 phone 360-546-9706 |  |  |  |
|  | c) WSU Tri-Cities % Environmental Health and Safety Dept 2710 University Drive Richland, WA 99352 fax 509-372-7552 phone 509-372-7163 |  |  |  |  |
|  | d) WSU Spokane %Environmental Health and Safety Dept. 668 North Riverpoint Blvd. Spokane, WA 99202-1622 fax 509-368-0607 phone 509-358-7994 |  |  |  |

| 18.5 Hazardous Waste Storage Inspection Form WSU HAZARDOUS WASTE STORAGE INSPECTION RECORD FOR WSU LOCATION: _______________ |
| --- |
| DATE INSPECTED |  |  |  |  |  |  |  |  |
| SIGNATURE |  |  |  |  |  |  |  |  |
| INSPECTOR (Print) |  |  |  |  |  |  |  |  |
| CONTAINERS | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED |
| PROPER LABELING |  |  |  |  |  |  |  |  |
| PROPER SEGREGATION |  |  |  |  |  |  |  |  |
| CAPS/LIDS SEALED |  |  |  |  |  |  |  |  |
| INTACT: NO LEAKAGE |  |  |  |  |  |  |  |  |
| STORAGE FACILITY | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED |
| SECURE: DOORS LOCKED |  |  |  |  |  |  |  |  |
| SIGNS IN PLACE |  |  |  |  |  |  |  |  |
| NO SPILL/LEAK/STAIN FOUND |  |  |  |  |  |  |  |  |
| FIRE EXTINGUISHER/CHARGED |  |  |  |  |  |  |  |  |
| EYEWASH/SHOWER OPERATIONAL |  |  |  |  |  |  |  |  |
| FIRST AID KIT PRESENT |  |  |  |  |  |  |  |  |
| SPILL SUPPLIES PRESENT |  |  |  |  |  |  |  |  |
| RECORDS | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED | INSPECTED |
| CSRFs (a.k.a. Inventory) CURRENT |  |  |  |  |  |  |  |  |
| STORAGE COMPLAINCE FORM CURRENT |  |  |  |  |  |  |  |  |
| Check box above, if item is okay. Indicate any discrepancy with a "D" and a note in the section below. |
| DISCREPANCY | DATE | CORRECTIVE ACTION | INITIALS |

# Text boxes

changing area

supplies