Attachment 1

Washington State University Vancouver

Stormwater Management Program (SWMP)

WSU PERMIT # WAR04-6700

wASHINGTON sTATE uNIVERSITY vANCOUVER

STORMWATER MANAGEMENT PROGRAM

Table of contentS

S6.A      Stormwater Management Program (SWMP)	1

S6.D	Program Components	1

S6.D.1	Public Education and Outreach	1

S6.D.2	Public Involvement and Participation	4

S6.D.3	Illicit Discharge Detection and Elimination (IDDE)	5

S6.D.4	Construction Site Stormwater Runoff Control	9

S6.D.5	Post-Construction Stormwater Management for New Development and Redevelopment	9

S6.D.6	Pollution Prevention and Good Housekeeping for Municipal Operations	10

S8 & S9 	Annual Stormwater Reporting	12

Washington State University Vancouver

Stormwater Management Program (SWMP)

WSU PERMIT # WAR04-6700

Western Washington Phase II Municipal Stormwater Permit

Category: Small Municipal Separate Storm Sewer System

Public Colleges and Universities Secondary Permittee (S6.D)

Permit Expiration Date February 15, 2016

Washington State University Vancouver’s (WSUV) Stormwater Management Program (SWMP) strives to reduce discharges of non-point source pollutants to stormwater to the maximum extent practicable and protect water quality through permit-specified Best Management Practices (BMPs). The SWMP Program is authorized under WSU’s Safety Policy and Procedure Manual (SPPM) Draft Stormwater Program (3-12-08). The SWMP is organized according to the permit’s BMPs delineated in S6.D, and will be reviewed and updated annually.

# S6.A      Stormwater Management Program (SWMP)

Goal

To formalize and organize stormwater compliance requirements into a dynamic living document.

Permit Requirements

- Develop and implement a Stormwater Management Program designed to reduce discharges of pollutants from regulated small MS4s to the maximum extent practicable and to protect water quality.

- Develop written documentation of the SWMP organized according to program components in S6.D, and update annually.

- Submit written updated SWMP with required Annual Stormwater Report to Washington State Department of Ecology (DOE).

# S6.D	Program Components

## S6.D.1	Public Education and Outreach

Goal

To promote awareness and support for stormwater management activities among university faculty, staff, students and visitors, and to show how they can prevent pollution of stormwater.

Permit Requirements

- Develop an education and outreach stormwater quality awareness program for campus stakeholders and university visitors (the public) to reduce and/or eliminate practices that cause or contribute to adverse impacts to stormwater.

- Track and maintain records of educational and outreach activities.

- Storm drain inlet labeling is a requirement of this section.

Current Activities

- Labeling of remaining storm drain inlets.

- Relabeling storm drain inlets within 90 days of notification that the existing label is faded, worn or illegible.

- WSUV storm drains in maintenance areas, parking lots, along sidewalks, and at pedestrian access points are labeled as follows:  “Dump no Waste; Drains to Stream” and include a salmon image.

Planned Activities

- There are plans to renew the maintenance yard stencils, and label remaining drains during upcoming Cougar Pride Days.  These events typically occur in April and November each year.

- Distribution of Educational Information to campus stakeholders will occur on an annual basis, starting no later than April 19, 2010, by means of some of the following methods:

  - The campus web news publication: The FYI, posts educational opportunity announcements and information concerning stormwater management and pollution prevention.

  - The student newspaper: The VanCougar, posts student stories, educational inserts, educational opportunities, and announcements concerning stormwater. The student reporters occasionally do feature articles on facilities staff activities and caring for the campus.

  - Informational emails and mailing to campus stakeholders.

  - The WSUV Safety Committee.

  - Trainings sponsored by the Environmental Health and Safety Department for faculty and staff. Facilities Operations staff training has a strong emphasis on stormwater pollution prevention responsibilities and best management practices.

  - Curriculum offers environmental health class that includes water quality and stormwater pollution prevention.

  - Educational signage for campus pet waste stations in the case of pet owners that walk their dogs on campus.

  - Cougar Pride Days in which the WSUV works with stakeholders and the public to enhance the campus grounds.

  - WSU Vancouver stormwater information on website.

  - Distribution of education literature and pamphlets.

  - Bulletin board postings.

- Continuation of LEED building design; second LEED Silver building scheduled to open in 2011.

- Salmon-Safe Certification for WSUV by 2011.

| Public Education and Outreach Work Plan Table 1 EDU-2007 |
| --- |
| Activity S6.D.1.a/b | Description | Lead | Schedule | Date Completed |
| EDU-1 S6.D.1.a.i. | Label 50% of storm drains | John Benson, Grounds Lead | Competed 2005 | On Going Process |
| EDU-2 S6.D.1.a.ii. | Label remaining storm drains | John Benson, Grounds Lead | June 30, 2010 | On Going Process |
| EDU-3 S6.D.1.a.iii. | Renew labels on drains | John Benson, Grounds Lead | As needed | On Going Process |
| EDU-4 S6.D.1.b | Benchmark Awareness Survey | Environmental Class | Dec 1, 2008 | December 2008 |
| EDU-5 S6.D.1.b | Promote public awareness of WSUV LEED building design components & positive enviro impact | Safety Committee/EH&S/Fac Ops/CPD | April 19, 2010 | On Going Process |
| EDU-6 S6.D.1.b | Complete Salmon Safe Certification | Facilities Operations/Grounds John Benson/EH&S | June 30, 2011 | September 2010 |
| EDU-7 S6.D.1.b | Launch Pet Waste Elimination Campaign | EH&S/Public Safety/Facility Operations | December 2007 | On Going Process |

## S6.D.2	Public Involvement and Participation

Goal

To promote and facilitate faculty, staff, student and public participation and involvement in the WSUV Stormwater program and planning process.

Permit Requirements

2a.	Publish a public notice in the local newspaper and solicit public review of the WSUV SWMP no later than August 15, 2011.

2b.	Make the latest updated version of the SWMP available to the public on the WSUV website. The WSUV SWMP will be posted at:  http://www.vancouver.wsu.edu/adm/fo/EHS.html

Current Activities

- None at this time

Planned Activities

| Public Involvement and Participation Work Plan PIP Table 2-2007 |
| --- |
| Activity S6.D.2.a/b | Description | Lead | Schedule Comments | Date Completed |
| PIP-1 | Establish stormwater website link to at WSUV | Smith/VIT | December 2008 | December 2008 |
| PIP-2 | Integrate website postings with WSU Pullman | VIT/Sue | Pullman sets date (5/31/08) | December 2007 |
| PIP-3 | Post SWMP components at WSUV | Reding/Smith | December 2008 | December 2008 |
| PIP-4 | Post annual revisions to SWMP on website | Smith | March 31, 2010 | On Going |
| PIP-5 | Publish Public Notice/Solicit Comments | EH&S | August 15, 2011 | On Going |

## S6.D.3	Illicit Discharge Detection and Elimination (IDDE)

Goal

To detect and eliminate illicit stormwater discharges.

Permit Requirements

- Comply with all relevant ordinances, rules, and regulations of local jurisdiction(s) in which the campus is located and that govern non-stormwater discharges.

- Develop and adopt policies prohibiting illicit discharges and illegal dumping to stormwater.

- Develop enforcement mechanisms for IDDE policies.

- Delineate allowed and prohibited non-stormwater discharges (and their permit listed conditions) to stormwater (S6.D.3.b.i, ii, & iii).

- Develop a stormwater sewer system map showing locations of all known campus storm drain outfalls, labeled receiving waters, and delineated areas contributing runoff to each outfall.

- Make map available upon request to DOE and other permittees.

- Perform field inspections of outfalls and maintain records of visual inspections and follow-up activities.

- Develop Spill Response Plan.

- Provide IDDE and BMP training for relevant employees.

Current Activities

- WSUV is in compliance with all relevant ordinances, rules and regulations of the local jurisdiction(s) in which the Secondary Permittee is located that govern non-stormwater discharges (S6.D.3.a).

- Public Safety department enforces the Clark County Ordinance C8.11.060 requiring animal excrement to be removed from campus grounds by pet owner, and Ordinance C8.15.020 leash-law for dogs. Public Safety has the authority to issue citations as they are commissioned police officers.

- Pet waste bags and collection stations dispersed around the campus grounds. Five stations installed to date.

- Stormwater collection system inspections and recordkeeping.

- Scheduled vendor with pump-truck maintains storm drain clean-outs.

- Scheduled vendor with street sweeper cleans parking lots and roads (using dry methods).

- Daily litter patrol of parking lots, streets and sidewalks.

- Hazardous waste collection and disposal program.

Planned Activities

Identification of Needed IDDE Policies

Development and centralization of written procedures for:

- Fire hydrant flushing

- CL- water source discharge

- Street, sidewalk, & parking lot cleaning (pressure washing and leaf blowing)

- Storm drain clean-outs

- Snow removal

- De-icing activities

- Grounds vehicle washing

- External cleaning of buildings

- Storage and maintenance areas

- External building MN: painting; window cleaning; pressure washing, etc.

- Parking lot spills of gas and diesel esp. plant and receiving

- Pesticide application

- Erosion and sediment control

- All waste disposal and handling

- Vegetation disposal

- Pet waste

- Litter

- Insert hazardous waste management program

- Storm event inspections

- Inspections of outfalls

Mechanisms for Policy Enforcement

- Citations from WSUV Public Safety personnel

- Grounds Crew Daily Patrol and work activities throughout the campus grounds

- Signage

- Pet waste stations

- Education

- Environmental Health and Safety person on staff for HAZMAT clean-up and spill reporting

- Spill clean-up vendor

- Student code of conduct

Procedures for hazardous materials handling and hazardous waste disposal.

| Illicit Discharge Detection and Elimination (IDDE) Work Plan IDDE Table 3-2007 |
| --- |
| Activity | Description | Lead | Schedule Comments | Date Completed |
| IDDE-1 S6.D.3.a | Comply with relevant SW ordinances, rules and regulations | CPD/FO/EHS | April 19, 2007 | On Going |
| IDDE-2 S6.D.3.b.i.-iii. | Develop and adopt IDDE policies and Identify possible enforcement mechanisms | CPD/FO/EHS | April 19, 2008 | March 2008 |
| IDDE-3 S6.D.3.b | Develop and implement an enforcement plan to ensure compliance with illicit discharge policies | EH&S/FO/CPD/Public Safety/Fire District 6 | October 19, 2008 | On Going |
| IDDE-4 S6.D.3.b.iii | Pet Waste write-up as a priority-County ordinance already in place | EH&S/Public Safety | April 18, 2008 | On Going |
| IDDE-5 S6.D3.c | Develop a storm sewer map | CPD/FO/EHS | August 15, 2011 |  |
| IDDE-6 S6.D.3.d | Conduct visual field inspections of outfalls (1/3 of total each year); Develop and implement procedures to identify and remove illicit discharges; Maintain inspection records | FO | April 19, 2009 | April 2009 |
| IDDE-7 SD6.3.e | Spill response plan | EH&S | August 15, 2011 | Updated Annually |
| IDDE-8 S6.D.3.f | IDDE & BMP employee training FO & CPD | EH&S | April 19, 2008 | On Going – Updated as needed |

Discharges (S6.D.3.b.i-v)

Allowed Discharges

- Stormwater discharges are allowed in accordance with section S2: Authorized Discharges, which includes discharges from emergency fire fighting activities and non-stormwater discharges covered by another NPDES permit.

- The permit allows the following categories of non-stormwater discharges unless the discharge is identified as a significant source of pollutants to waters of the State:

- Diverted stream flows

- Rising ground waters

- Uncontaminated ground water infiltration (as defined at 40CFR 35.2005(20))

- Uncontaminated pumped ground water

- Foundation drains

- Air conditioning condensation

- Irrigation water from agricultural sources that is co-mingled with urban stormwater

- Springs

- Water from crawl space pumps

- Footing drains

- Flows from riparian habitats and wetlands

Prohibited Discharges

The following discharges are not permitted to campus stormwater unless the stated conditions are met:

- Discharges from potable water sources, including water line flushing, hyper-chlorinated water line flushing, fire hydrant system flushing, and pipeline hydrostatic test water. Planned discharges shall be dechlorinated to a concentration of 0.1ppm or less, pH-adjusted if necessary and volumetrically and velocity controlled to prevent re-suspension of sediments in the MS4.

- Discharges from lawn watering and other irrigation runoff. These discharges shall be minimized through, at a minimum, public education activities and water conservation efforts conducted by the University and/or the local jurisdiction.

- Street and sidewalk wash water, water used to control dust, and routine external building wash down water that doesn’t use detergents shall be reduced and kept to a minimum to avoid washing pollutants into the stormwater system. Reduction of wash waters shall be reduced by public education and/or water conservation efforts conducted by the WSUV and/or the local jurisdiction. At active campus construction sites, street sweeping shall be performed prior to washing the street.

## S6.D.4	Construction Site Stormwater Runoff Control

Goal

To prevent the discharge of sediment and other construction-related pollutants from construction sites.

Current Activities

- Complied with all relevant ordinances, rules, and regulations of the local jurisdiction(s) in which WSUV is located that govern(s) construction phase stormwater pollution prevention measures (SD6.4.a).

- The Capital Planning and Development Department (CPD) coordinates, oversees, and monitors construction projects of 1 acre or more that require Construction Stormwater NPDES (National Pollutant Discharge Elimination Systems) permits.

- CPD develops and maintains stormwater construction BMPs.

- In cooperation with CPD, DOE, and Clark County the construction project contractor(s) develop a Stormwater Pollution Prevention Plan (SWPPP) and assume responsibility for the Stormwater NPDES Construction Permit for the duration of the project, and post-construction restoration and transfer of the project back to WSUV.

- Stormwater Construction Permits are not issued, and the project can’t proceed unless the SWPPP meets required (and regulated) specifications.

- Permits are obtained prior to the beginning of construction project.

- The project stormwater management practices are inspected by CPD, the County, and the contractor on a regular basis. The contractor develops monthly Discharge Monitoring Reports (DMRs) that are reviewed by CPD and transmitted to DOE.

| Construction Site Stormwater Run-off Control Work Plan Table 4 SWPPP-2007 |
| --- |
| Activity S6.D.4 | Description | Lead | Schedule | Date Completed |
| SWPPP-1 | Train WSUV Inspector(s)or hire trained contractors | CPD/FO | October, 19, 2008 | October 2008 |

## S6.D.5	Post-Construction Stormwater Management for New Development and Redevelopment

Goal

Control stormwater runoff from new development and redevelopment projects. Handled by contractor and overseen by CPD.

Current Activities

- Complied with all relevant ordinances, rules, and regulations of the local jurisdiction(s) in which WSUV is located that govern(s) construction phase stormwater pollution prevention measures (SD6.4.a).

Planned Activities

- None scheduled

| Post-Construction Site Stormwater Run-off Control Work Plan Table 5 Post-Con-2007 |
| --- |
| Activity S6.D.5 | Description | Lead | Schedule | Date Completed |

## S6.D.6	Pollution Prevention and Good Housekeeping for Municipal Operations

Goal

To reduce pollutant loading in stormwater runoff from roadways, parking areas, maintenance and storage yards, waste transfer stations, grounds and impervious surfaces.

Permit Requirements (S6.D.6.a-d)

- Develop an operations and maintenance (O&M) plan to minimize stormwater pollution from activities conducted on campus. The plan will include appropriate pollution prevention, good housekeeping and maintenance procedures (i.e., Best Management Practices (BMPs)) for the campus stormwater collection and conveyance system; roads, sidewalks and parking lots; vehicle fleets; external building cleaning and maintenance; parks and open space; material storage areas; heavy equipment storage; maintenance areas; and other facilities that would reasonably be expected to discharge contaminated runoff (S6.D.6.a.i-vii).

- Establish maintenance standards that are as protective as, or more protective of, the stormwater system function than those specified in Chapter 4 Volume V of the 2005 Stormwater Management Manual for Western Washington.

- Perform spot checks of stormwater treatment and flow control facilities following a 24 hour storm event with a 10-year or greater recurrence interval.

- All facilities owned and/or operated by WSUV required to have permit coverage.

- Establish O&M inspection and maintenance activities schedules.

- Maintain sufficient documentation and records, as necessary, to demonstrate compliance with the O&M requirements in S6.D.6.a.i-vii.

- Provide training for those employees whose construction, operations, or maintenance job functions may impact stormwater quality.

Current Activities

Develop and implement an operation and maintenance (O&M) plan to minimize stormwater pollution from activities conducted by the Permittee.  The O&M Plan shall include appropriate pollution prevention and good housekeeping procedures for the operations and activities

Planned Activities

| Pollution Prevention and Good Housekeeping Work Plan Table 6 P2-2016 |
| --- |
| Activity S6.D.6.a-d | Description | Lead | Schedule Completion Date | Date Completed |
| P2-0 S6.D.6.b | Permit coverage for all facilities owned & operated by WSU Vancouver |  | April 19, 2007 | April 19, 2007 On Going Practice |
| P2-1 S6.D.6.a | Stormwater O&M written plan | EH&S/FO | April 19, 2010 | April 2010 – Living Document |
| P2-2 S6.D.6.a.i | O&M for Stormwater collection & conveyance | EH&S/FO | April 19, 2010 | April 2010- On Going |
| P2-3 S6.D.6.a.ii | O&M Roads, highways, and parking lots | EH&S/FO | April 19, 2010 | April 2010-On Going |
| P2-4 S6.D.6.a.iii | O&M for Vehicle fleets and equipment | EH&S/FO | April 19, 2010 | April 2010- On Going |
| P2-5 S6.D.6.a.iv | O&M External building maintenance | EH&S/FO | April 19, 2010 | April 2010-On Going |
| P2-6 S6.D.6.a.v | O&M Parks and open spaces | EH&S/FO | April 19, 2010 | April 2010- On Going |
| P2-7 S6.D.6.a.vi | O&M Material & equipment storage areas | EH&S/FO | April 19, 2010 | April 2010- On Going |
| P2-8 S6.D.6.a.vii | O&M other | EH&S/FO | April 19, 2010 | On Going- On Going |
| P2-9 S6.D.6.c | O&M Compliance documentation & recordkeeping | EH&S/FO | April 19, 2010 | On Going- |
| P2-10 S6.D.6.d | O&M Employee Training | EH&S | April 19, 2010 | On Going |

# S8 & S9 	Annual Stormwater Reporting

Goal

To report required information to DOE on an annual basis, and any other beneficial stormwater program information to the public, through distribution channels as required by the permit.

Permit Requirements (S8.1 & 2; S9.A, C, D & F)

- Submit an annual report by March 31 of each year for the preceding calendar year’s activities. These records are to be maintained for five years, and made available to the public upon request.

- The Annual Stormwater Report is to include the Report for Secondary Permittee (Appendix 4) and the following supporting documentation:

- Status of implementation of each component of the SWMP in section S6. This is done through submission of the updated SWMP.

- An assessment of the Permittee progress in meeting the minimum performance standards established for each of the minimum control measures of the SWMP.

- If done during the reporting year, a description of any stormwater monitoring studies conducted by the Permittee or other by other entities, such as the City, that includes the type of information gathered or received, and time periods collected (S8.B.1).

- An assessment of the appropriateness of the BMPs identified by the permittee for each component of the SWMP, and any changes made, or anticipated to be made, to the BMPs that were previously selected to implement the SWMP  (S8.B.2).

- If applicable, a notice that the MS4 is relying on another governmental entity to satisfy any of the obligations under this permit (monitoring, cleaning and inspection, public education, etc.).

- Certification with signatures and notifications of any changes to authorization pursuant to G19.C & D.

- Any person signing a document under the stormwater permit certifies the following:

Certification

“I certify under penalty of law, that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that Qualified Personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for willful violations.”

Signed Plan on File at WSUV & DOE	_	22 March 2016_________________

Signature					Date

Lynn Valenter_____________________	Vice Chancellor, Finance & Operations

Name						Title